## Sheet1
Exhibit B - PRICE PROPOSAL |  |  | CONTRACT# CIP/260955
| Bidder Name | Bidder Location
| ENTER COMPANY NAME HERE | ENTER OFFICE LOCATION HERE
WATER RESOURCES IMPROVEMENT PROGRAM
ITEM # | DESCRIPTION | UNIT OF MEASURE | UNIT PRICE
GENERAL CONSTRUCTION (012200-3)
G-03 | PROJECT SIGN | EA
G-04-1 | EMERGENCY CALL OUT (24 HOURS A DAY) | HR
G-04-2 | LABOR AND EQUIPMENT | HR
G-05 | MAINTENANCE OF TRAFFIC | DAY
G-06 | SILT FENCE & SEDIMENT CONTROL | LF
G-07 | TREE PROTECTION/CONSTRUCTION FENCE | LF
G-08 | REMOVE REPLACE OR RELOCATE EXISTING MAILBOXES | EA
G-09 | CLEARING AND GRUBBING - LIGHT | SY
G-10 | CLEARING AND GRUBBING - HEAVY | SY
G-11 | EXCAVATION | CY
G-12 | IMPORTED BACKFILL MATERIAL | CY
G-15 | GRADING | SY
G-17 | REMOVE & REPLACE UNSUITABLE MATERIAL | CY
G-19 | LIMEROCK BASE 12" | SY
G-20 | # 57 STONE | CY
G-21-1 | REMOVAL OF EXSITING CONCRETE SIDEWALKS AND DRIVEWAYS (NOT REINSTALLING) | SY
G-21-2 | REMOVAL AND REPLACEMENT OF EXSITING CONCRETE SIDEWALKS AND DRIVEWAYS (CONCRETE OR ASPHALT DRIVEWAYS) | SY
G-22 | REMOVAL OF EXISTING CONCRETE CURB AND GUTTER (NOT REINSTALLING) | LF
G-23 | CONCRETE FILL | CY
G-24 | ASPHALT COATINGS | GAL
G-25 | ASPHALT PAVEMENT REMOVAL | SY
G-26 | TEMPORARY ASPHALT MILLINGS | SY
G-31 | ASPHALT MILLING AND REPLACEMENT | CY
G-32-1 | ASPHALT PAVEMENT SUPERPAVE 9.5 | TN
G-32-2 | ASPHALT PAVEMENT SUPERPAVE 12.5 | TN
G-33 | ROADWAY GUARDRAIL | LF
G-34-1 | OBJECT MARKER, TYPE 1 | EA
G-34-2 | OBJECT MARKER, TYPE 2 | EA
G-34-3 | OBJECT MARKER, TYPE 3 | EA
G-34-4 | OBJECT MARKER, TYPE 4 | EA
G-35-1 | DELINEATOR, FLEXIBLE TUBULAR | EA
G-35-2 | DELINEATOR, NON-FLEXIBLE | EA
G-35-3 | DELINEATOR, FLEXIBLE HIGH VISIBILTY MEDIAN | EA
G-35-4 | DELINEATOR, FLEXIBLE HIGH PERFORMANCE | EA
G-36 | RUMBLE STRIPS | PS
G-37 | GROUNDING ELECTRODE | FT
G-38-1 | SIGNAL CONDUIT, FURNISH & INSTALL, UNDERGROUND | LF
G-38-2 | SIGNAL CONDUIT, FURNISH & INSTALL, SAWCUT & PLACE UNDER EXISTING PAVEMENT | LF
G-38-3 | SIGNAL CONDUIT, F & I, UNDERGROUND-JACKED | LF
G-39-1 | SPAN WIRE ASSEMBLY, F & I, SINGLE POINT, DIAGONAL | PI
G-39-2 | SPAN WIRE ASSEMBLY, F & I, TWO POINT, DIAGONAL | PI
G-39-3 | SPAN WIRE ASSEMBLY, F & I, TWO POINT, BOX | PI
G-39-4 | SPAN WIRE ASSEMBLY, ADJUST | PI
G-39-5 | SPAN WIRE ASSEMBLY, ADJUST, TWO POINT, BOX | PI
G-40 | PULL & JUNCTION BOX, F & I, PULL BOX | EA
G-41 | PULL & JUNCTION BOXES, INSTALL | EA
G-42 | PULL & JUNCTION BOXES, RELOCATE | EA
G-52 | CONSTRUCTION SURVEY | HR
G-53 | ASBUILT DRAWINGS | HR
G-54-1 | PIPE HANDRAIL-GUIDERAIL, ALUMINUM | LF
G-54-2 | PEDESTRIAN/BICYCLE, RAILING, ALUMINUM ONLY, 42" PICKET RAIL | LF
G-54-3 | PEDESTRIAN/BICYCLE, RAILING, ALUMINUM ONLY, 42" TYPE 1 | LF
G-54-4 | PIPE HANDRAIL, ALUMINUM | LF
G-55 | 6" BOLLARDS | EA
G-56 | CONCRETE CURB, GUTTER, VALLEY AND DROP CURB (NEW INSTALL) | LF
G-57 | CONCRETE CURB, GUTTER, VALLEY AND DROP CURB REMOVAL & REPLACEMENT | LF
G-58-1 | CONCRETE 3000 PSI | CY
G-58-2 | CONCRETE 4000 PSI | CY
G-60-1 | PAVERS, ARCHITECTURAL ROADWAY | SY
G-60-2 | PAVERS, ARCHITECTURAL SIDEWALK | SY
G-61 | CONCRETE CURB RAMPS WITH DETECTABLE WARNING SURFACE - HANDICAP | EA
G-62 | DETECTABLE WARNING ON EXISTING WALKING SURFACE, RETROFIT | EA
G-66 | RIP RAP | CY
G-67 | CONCRETE RUBBLE (2 FT THICK) | SY
G-75 | FARM FENCING REMOVAL & REPLACEMENT | LF
G-78 | CHAIN LINK FENCING REMOVAL AND REPLACEMENT | LF
G-79 | SEED & MULCH | SY
G-80-1 | SOD-ST. AUGUSTINE | SY
G-80-2 | SOD-BAHIA | SY
G-88-1 | LOOP ASSEMBLY- F & I, TYPE A | EA
G-88-2 | LOOP ASSEMBLY- F & I, TYPE B | EA
G-88-3 | LOOP ASSEMBLY- F & I, TYPE F | EA
G-89 | TRAFFIC CONTROL SIGN ASSEMBLY | EA
G-90 | TRAFFIC CONTROL SIGN ASSEMBLY REMOVAL AND RELOCATION | EA
G-91 | REFLECTIVE PAVEMENT MARKERS | EA
G-92 | STANDARD WHEEL STOPS | EA
G-93-1 | TEMPORARY, WHITE, SOLID 6" | LF
G-93-2 | TEMPORARY, WHITE, SOLID 12" | LF
G-93-3 | TEMPORARY, WHITE, SOLID 24" | LF
G-93-4 | TEMPORARY SKIP TRAFFIC STRIPE, YELLOW OR WHITE, 6" | GLF
G-93-5 | TEMPORARY SOLID TRAFFIC STRIPE - 6" YELLOW | LF
G-93-6 | TEMPORARY SOLID TRAFFIC STRIPE - 6" DOUBLE YELLOW | LF
G-94-1 | THERMO, WHITE, SOLID, 6" | LF
G-94-2 | THERMO, WHITE, SOLID, 12" | LF
G-94-3 | THERMO, WHITE, SOLID, 24" | LF
G-94-4 | THERMO SKIP TRAFFIC STRIPE, YELLOW OR WHITE, 6" | GLF
G-94-5 | THERMO SOLID TRAFFIC STRIPE - 6" YELLOW | LF
G-94-6 | THERMO SOLID TRAFFIC STRIPE - 6" DOUBLE YELLOW | LF
G-95 | THERMO PAVEMENT MARKINGS | EA
G-96 | PAINTED PAVEMENT MARKINGS | EA
G-97 | ARROW BOARDS/MESSAGE BOARDS | DAY
G-98 | MISCELLANEOUS UTILIY LOCATES / EXPORATORY EXCAVATION | HR
Sub-Total GENERAL CONSTRUCTION (012200-3): |  |  | 0
WATER CONSTRUCTION (012200-35)
W-01-1 | 2” PVC WATER MAIN | LF
W-01-2 | 4” PVC WATER MAIN | LF
W-01-3 | 6” PVC WATER MAIN | LF
W-01-4 | 8” PVC WATER MAIN | LF
W-01-5 | 10” PVC WATER MAIN | LF
W-01-6 | 12” PVC WATER MAIN | LF
W-01-7 | 14” PVC WATER MAIN | LF
W-01-8 | 16” PVC WATER MAIN | LF
W-01-9 | 18” PVC WATER MAIN | LF
W-01-10 | 20” PVC WATER MAIN | LF
W-01-11 | 24” PVC WATER MAIN | LF
W-01-12 | 4” DIP WATER MAIN | LF
W-01-13 | 6” DIP WATER MAIN | LF
W-01-14 | 8” DIP WATER MAIN | LF
W-01-15 | 10” DIP WATER MAIN | LF
W-01-16 | 12” DIP WATER MAIN | LF
W-01-17 | 14” DIP WATER MAIN | LF
W-01-18 | 16” DIP WATER MAIN | LF
W-01-19 | 18” DIP WATER MAIN | LF
W-01-20 | 20” DIP WATER MAIN | LF
W-01-21 | 24” DIP WATER MAIN | LF
W-01-22 | 30" DIP WATER MAIN | LF
W-02-1 | BACKFLOW PREVENTER 1" | EA
W-02-2 | BACKFLOW PREVENTER 2" | EA
W-03-1 | 2” PVC FITTINGS | EA
W-03-2 | 2" BRASS POLYETHYLENE FITTINGS | EA
W-03-3 | DIP MJ FITTINGS 4" | EA
W-03-4 | DIP MJ FITTINGS 6" | EA
W-03-5 | DIP MJ FITTINGS 8" | EA
W-03-6 | DIP MJ FITTINGS 10” | EA
W-03-7 | DIP MJ FITTINGS 12” | EA
W-03-8 | DIP MJ FITTINGS 14" | EA
W-03-9 | DIP MJ FITTINGS 16" | EA
W-03-10 | DIP MJ FITTINGS 18" | EA
W-03-11 | DIP MJ FITTINGS 20" | EA
W-03-12 | DIP MJ FITTINGS 24" | EA
W-03-13 | DIP MJ FITTINGS 30" | EA
W-03-14 | DIP MJ TEE/CROSS 4" | EA
W-03-15 | DIP MJ TEE/CROSS 6" | EA
W-03-16 | DIP MJ TEE/CROSS 8" | EA
W-03-17 | DIP MJ TEE/CROSS 10" | EA
W-03-18 | DIP MJ TEE/CROSS 12" | EA
W-03-19 | DIP MJ TEE/CROSS 14" | EA
W-03-20 | DIP MJ TEE/CROSS 16" | EA
W-03-21 | DIP MJ TEE/CROSS 18" | EA
W-03-22 | DIP MJ TEE/CROSS 20" | EA
W-03-23 | DIP MJ TEE/CROSS 24" | EA
W-03-24 | DIP MJ TEE/CROSS 30" | EA
W-04-1 | 4” PIPE JOINT RESTRAINT | EA
W-04-2 | 6” PIPE JOINT RESTRAINT | EA
W-04-3 | 8” PIPE JOINT RESTRAINT | EA
W-04-4 | 10” PIPE JOINT RESTRAINT | EA
W-04-5 | 12” PIPE JOINT RESTRAINT | EA
W-04-6 | 14” PIPE JOINT RESTRAINT | EA
W-04-7 | 16” PIPE JOINT RESTRAINT | EA
W-04-8 | 18” PIPE JOINT RESTRAINT | EA
W-04-9 | 20” PIPE JOINT RESTRAINT | EA
W-04-10 | 24” PIPE JOINT RESTRAINT | EA
W-05-10 | 30” PIPE JOINT RESTRAINT | EA
W-05-1 | 2” GATE VALVE W/SST STEM & VALVE BOX | EA
W-05-2 | 4” GATE VALVE W/SST STEM & VALVE BOX | EA
W-05-3 | 6” GATE VALVE W/SST STEM & VALVE BOX | EA
W-05-4 | 8” GATE VALVE W/SST STEM & VALVE BOX | EA
W-05-5 | 12” BUTTERFLY VALVE & VALVE BOX | EA
W-05-6 | 16” BUTTERFLY VALVE & VALVE BOX | EA
W-05-7 | 18” BUTTERFLY VALVE & VALVE BOX | EA
W-05-8 | 24” BUTTERFLY VALVE & VALVE BOX | EA
W-05-9 | 4” INSERT - A - VALVE | EA
W-05-10 | 6” INSERT - A - VALVE | EA
W-05-11 | 8” INSERT - A - VALVE | EA
W-05-12 | 10” INSERT - A - VALVE | EA
W-05-13 | 12” INSERT - A - VALVE | EA
W-05-14 | 14" INSERT - A - VALVE | EA
W-05-15 | 16" INSERT - A - VALVE | EA
W-08-1 | 2” LINE STOP | EA
W-08-2 | 4” LINE STOP | EA
W-08-3 | 6” LINE STOP | EA
W-08-4 | 8” LINE STOP | EA
W-08-5 | 10” LINE STOP | EA
W-08-6 | 12” LINE STOP | EA
W-08-7 | 14” LINE STOP | EA
W-08-8 | 16” LINE STOP | EA
W-08-9 | 18” LINE STOP | EA
W-08-10 | 20” LINE STOP | EA
W-08-11 | 24” LINE STOP | EA
W-09-1 | FIRE HYDRANT ASSEMBLY ON 6” MAIN - TYPE A | EA
W-09-2 | FIRE HYDRANT ASSEMBLY ON 8” MAIN - TYPE A | EA
W-09-3 | FIRE HYDRANT ASSEMBLY ON 10" MAIN - TYPE A | EA
W-09-4 | FIRE HYDRANT ASSEMBLY ON 12” MAIN - TYPE A | EA
W-09-5 | FIRE HYDRANT ASSEMBLY ON 16" MAIN - TYPE A | EA
W-09-6 | FIRE HYDRANT ASSEMBLY ON 6" MAIN - TYPE B | EA
W-09-7 | FIRE HYDRANT ASSEMBLY ON 8" MAIN - TYPE B | EA
W-09-8 | FIRE HYDRANT ASSEMBLY ON 10" MAIN - TYPE B | EA
W-09-9 | FIRE HYDRANT ASSEMBLY ON 12" MAIN - TYPE B | EA
W-09-10 | FIRE HYDRANT ASSEMBLY ON 16" MAIN - TYPE B | EA
W-10 | REMOVE AND REPLACE EXISTING FIRE HYDRANTS | EA
W-11-1 | REMOVE FIRE HYDRANTS | EA
W-11-2 | REMOVE AND RELOCATE EXISTING FIRE HYDRANTS | EA
W-12-1 | FIRE HYDRANT 6” EXTENSION | EA
W-12-2 | FIRE HYDRANT 12” EXTENSION | EA
W-12-3 | FIRE HYDRANT 18” EXTENSION | EA
W-12-4 | FIRE HYDRANT 24” EXTENSION | EA
W-14-1 | 1” SINGLE WATER SERVICE – SHORT | EA
W-14-2 | 1” SINGLE WATER SERVICE – LONG | EA
W-14-3 | 1” DOUBLE WATER SERVICE – SHORT | EA
W-14-4 | 1” DOUBLE WATER SERVICE LONG | EA
W-14-5 | 2” SINGLE WATER SERVICE – SHORT | EA
W-14-6 | 2” SINGLE WATER SERVICE – LONG | EA
W-14-7 | 2” DOUBLE WATER SERVICE – SHORT | EA
W-14-8 | 2” DOUBLE WATER SERVICE – LONG | EA
W-14-9 | MULTI-FAMILY WATER SERVICE - SHORT (UP TO 4 METERS) | EA
W-14-10 | MULTI-FAMILY WATER SERVICE - LONG (UP TO 4 METERS) | EA
W-15-1 | REMOVE & REPLACE 1” SINGLE WATER SERVICE – SHORT | EA
W-15-2 | REMOVE & REPLACE 1” SINGLE WATER SERVICE – LONG | EA
W-15-3 | REMOVE & REPLACE 1” DOUBLE WATER SERVICE – SHORT | EA
W-15-4 | REMOVE & REPLACE 1” DOUBLE WATER SERVICE – LONG | EA
W-15-5 | REMOVE & REPLACE 2” SINGLE WATER SERVICE – SHORT | EA
W-15-6 | REMOVE & REPLACE 2” SINGLE WATER SERVICE – LONG | EA
W-15-7 | REMOVE & REPLACE 2” DOUBLE WATER SERVICE – SHORT | EA
W-15-8 | REMOVE & REPLACE 2” DOUBLE WATER SERVICE – LONG | EA
W-16-1 | 2” TAP ON EXISTING 4” WATER MAIN W/VALVE & SST STEM | EA
W-16-2 | 2” TAP ON EXISTING 6” WATER MAIN W/VALVE & SST STEM | EA
W-16-3 | 2” TAP ON EXISTING 8” WATER MAIN W/VALVE & SST STEM | EA
W-16-4 | 2” TAP ON EXISTING 10” WATER MAIN W/VALVE & SST STEM | EA
W-16-5 | 2” TAP ON EXISTING 12” WATER MAIN W/VALVE & SST STEM | EA
W-16-6 | 2” TAP ON EXISTING 14” WATER MAIN W/VALVE & SST STEM | EA
W-16-7 | 2” TAP ON EXISTING 16” WATER MAIN W/VALVE & SST STEM | EA
W-16-8 | 2” TAP ON EXISTING 18” WATER MAIN W/VALVE & SST STEM | EA
W-16-9 | 2” TAP ON EXISTING 20” WATER MAIN W/VALVE & SST STEM | EA
W-16-10 | 2” TAP ON EXISTING 24” WATER MAIN W/VALVE & SST STEM | EA
W-16-11 | 4” TAP ON EXISTING 6” WATER MAIN W/VALVE & SST STEM | EA
W-16-12 | 4” TAP ON EXISTING 8” WATER MAIN W/VALVE & SST STEM | EA
W-16-13 | 4” TAP ON EXISTING 10” WATER MAIN W/VALVE & SST STEM | EA
W-16-14 | 4” TAP ON EXISTING 12” WATER MAIN W/VALVE & SST STEM | EA
W-16-15 | 4” TAP ON EXISTING 14” WATER MAIN W/VALVE & SST STEM | EA
W-16-16 | 4” TAP ON EXISTING 16” WATER MAIN W/VALVE & SST STEM | EA
W-16-17 | 4” TAP ON EXISTING 18” WATER MAIN W/VALVE & SST STEM | EA
W-16-18 | 4” TAP ON EXISTING 20” WATER MAIN W/VALVE & SST STEM | EA
W-16-19 | 4” TAP ON EXISTING 24” WATER MAIN W/VALVE & SST STEM | EA
W-16-20 | 6” TAP ON EXISTING 6” WATER MAIN W/VALVE & SST STEM | EA
W-16-21 | 6” TAP ON EXISTING 8” WATER MAIN W/VALVE & SST STEM | EA
W-16-22 | 6” TAP ON EXISTING 10” WATER MAIN W/VALVE & SST STEM | EA
W-16-23 | 6” TAP ON EXISTING 12” WATER MAIN W/VALVE & SST STEM | EA
W-16-24 | 6” TAP ON EXISTING 14” WATER MAIN W/VALVE & SST STEM | EA
W-16-25 | 6” TAP ON EXISTING 16” WATER MAIN W/VALVE & SST STEM | EA
W-16-26 | 6” TAP ON EXISTING 18” WATER MAIN W/VALVE & SST STEM | EA
W-16-27 | 6” TAP ON EXISTING 20” WATER MAIN W/VALVE & SST STEM | EA
W-16-28 | 6” TAP ON EXISTING 24” WATER MAIN W/VALVE & SST STEM | EA
W-16-29 | 8” TAP ON EXISTING 8” WATER MAIN W/VALVE & SST STEM | EA
W-16-30 | 8” TAP ON EXISTING 10” WATER MAIN W/VALVE & SST STEM | EA
W-16-31 | 8” TAP ON EXISTING 12” WATER MAIN W/VALVE & SST STEM | EA
W-16-32 | 8” TAP ON EXISTING 14” WATER MAIN W/VALVE & SST STEM | EA
W-16-33 | 8” TAP ON EXISTING 16” WATER MAIN W/VALVE & SST STEM | EA
W-16-34 | 8” TAP ON EXISTING 18” WATER MAIN W/VALVE & SST STEM | EA
W-16-35 | 8” TAP ON EXISTING 20” WATER MAIN W/VALVE & SST STEM | EA
W-16-36 | 8” TAP ON EXISTING 24” WATER MAIN W/VALVE & SST STEM | EA
W-16-37 | 12” TAP ON EXISTING 12” WATER MAIN W/VALVE & SST STEM | EA
W-16-38 | 12” TAP ON EXISTING 14” WATER MAIN W/VALVE & SST STEM | EA
W-16-39 | 12” TAP ON EXISTING 16” WATER MAIN W/VALVE & SST STEM | EA
W-16-40 | 12” TAP ON EXISTING 18” WATER MAIN W/VALVE & SST STEM | EA
W-16-41 | 12” TAP ON EXISTING 20” WATER MAIN W/VALVE & SST STEM | EA
W-16-42 | 12” TAP ON EXISTING 24” WATER MAIN W/VALVE & SST STEM | EA
W-16-43 | 16” TAP ON EXISTING 16” WATER MAIN W/VALVE & SST STEM | EA
W-16-44 | 16” TAP ON EXISTING 18” WATER MAIN W/VALVE & SST STEM | EA
W-16-45 | 16” TAP ON EXISTING 20” WATER MAIN W/VALVE & SST STEM | EA
W-16-46 | 16” TAP ON EXISTING 24” WATER MAIN W/VALVE | EA
W-17-1 | BORE & JACK 18” STEEL CASING W/8” PVC | LF
W-17-2 | BORE & JACK 18” STEEL CASING W/8” DIP | LF
W-17-3 | BORE & JACK 24” STEEL CASING W/12” PVC | LF
W-17-4 | BORE & JACK 24” STEEL CASING W/12” DIP | LF
W-17-5 | BORE & JACK 30” STEEL CASING W/16” PVC | LF
W-17-6 | BORE & JACK 30” STEEL CASING W/16” DIP | LF
W-17-7 | BORE & JACK 30" STEEL CASING W/ 18" PVC | LF
W-17-8 | BORE & JACK 30" STEEL CASING W/ 18" DIP | LF
W-18-1 | DIRECTIONAL BORE 2” HDPE PIPE | LF
W-18-2 | DIRECTIONAL BORE 4" HDPE PIPE | LF
W-18-3 | DIRECTIONAL BORE 6” HDPE PIPE | LF
W-18-4 | DIRECTIONAL BORE 8” HDPE PIPE | LF
W-18-5 | DIRECTIONAL BORE 10” HDPE PIPE | LF
W-18-6 | DIRECTIONAL BORE 12” HDPE PIPE | LF
W-18-7 | DIRECTIONAL BORE 14” HDPE PIPE | LF
W-18-8 | DIRECTIONAL BORE 16” HDPE PIPE | LF
W-18-9 | DIRECTIONAL BORE 18” HDPE PIPE | LF
W-18-10 | DIRECTIONAL BORE 2” PVC PIPE | LF
W-18-11 | DIRECTIONAL BORE 4" PVC PIPE | LF
W-18-12 | DIRECTIONAL BORE 6” PVC PIPE | LF
W-18-13 | DIRECTIONAL BORE 8” PVC PIPE | LF
W-18-14 | DIRECTIONAL BORE 10” PVC PIPE | LF
W-18-15 | DIRECTIONAL BORE 12” PVC PIPE | LF
W-18-16 | DIRECTIONAL BORE 16” PVC PIPE | LF
W-19 | BLOW-OFF ASSEMBLY ON WATER MAIN | EA
W-20-1 | ADJUST EXISTING VALVE BOX | EA
W-20-2 | ADJUST EXISTING METER BOX | EA
W-21-1 | TEMPORARY JUMPER CONNECTION | EA
W-22-2 | ABANDON WATER SERVICE | EA
W-22-3 | ABANDON WATER MAIN CUT AND CAP | LS
W-22-4 | ABANDON AND REMOVE WATER MAINS | LF
W-22-4 | WATER MAIN GROUTING | CY
Sub-Total WATER CONSTRUCTION (012200-35) : |  |  | 0
SANITARY SEWER CONSTRUCTION (012200-42)
HR
S-01-1 | 6" PVC, 0' - 6' | LF
S-01-2 | 6" PVC, 6' - 12' | LF
S-01-3 | 6" PVC, 12' - 18' | LF
S-01-4 | 6" PVC, 18 - 24' | LF
S-01-5 | 8” PVC, 0’ - 6’ | LF
S-01-6 | 8” PVC, 6’ - 12’ | LF
S-01-7 | 8” PVC, 12’ - 18’ | LF
S-01-8 | 8” PVC, 18’ - 24’ | LF
S-01-9 | 10” PVC, 0’ - 6’ | LF
S-01-10 | 10” PVC, 6’ - 12’ | LF
S-01-11 | 10” PVC, 12’ - 18’ | LF
S-01-12 | 10” PVC, 18’ - 24’ | LF
S-01-13 | 12” PVC, 0’ - 6’ | LF
S-01-14 | 12” PVC, 6’ - 12’ | LF
S-01-15 | 12” PVC, 12’ - 18’ | LF
S-01-16 | 12” PVC, 18' - 24’ | LF
S-02-1 | SEWER MANHOLE W/EPOXY, 0’ – 6’ | EA
S-02-2 | SEWER MANHOLE W/EPOXY, 6’ – 12’ | EA
S-02-3 | SEWER MANHOLE W/EPOXY, 12’ – 18’ | EA
S-02-4 | SEWER MANHOLE W/EPOXY, 18’ – 24’ | EA
S-02-5 | SEWER MANHOLE W/HDPE LINER, 0’ – 6’ | EA
S-02-6 | SEWER MANHOLE W/HDPE LINER, 6’ – 12’ | EA
S-02-7 | SEWER MANHOLE W/HDPE LINER, 12’ – 18’ | EA
S-02-8 | SEWER MANHOLE W/HDPE LINER, 18’ – 24’ | EA
S-02-9 | SEWER MANHOLE OVER EXISTING PIPE, 0’ – 6’ | EA
S-02-10 | SEWER MANHOLE OVER EXISTING PIPE, 6’ – 12’ | EA
S-02-11 | SEWER MANHOLE OVER EXISTING PIPE, 12’ – 18’ | EA
S-02-12 | SEWER MANHOLE OVER EXISTING PIPE, 18’ – 24’ | EA
S-02-13 | SEWER MANHOLE OVER EXISTING PIPE WITH HDPE LINER, 0’ – 6’ | EA
S-02-14 | SEWER MANHOLE OVER EXISTING PIPE WITH HDPE LINER , 6’ – 12’ | EA
S-02-15 | SEWER MANHOLE OVER EXISTING PIPE WITH HDPE LINER, 12’ – 18’ | EA
S-02-16 | SEWER MANHOLE OVER EXISTING PIPE WITH HDPE LINER, 18’ – 24’ | EA
S-02-17 | CONFLICT MANHOLE, 0’ – 6’ | EA
S-02-18 | CONFLICT MANHOLE, 6’ – 12’ | EA
S-02-19 | CONFLICT MANHOLE, 12’ – 18’ | EA
S-02-20 | CONFLICT MANHOLE, 18’ – 24’ | EA
S-02-21 | REMOVE & REPLACE SEWER MANHOLE, 0’ – 6’ | EA
S-02-22 | REMOVE & REPLACE SEWER MANHOLE, 6’ – 12’ | EA
S-02-23 | REMOVE & REPLACE SEWER MANHOLE, 12’ – 18’ | EA
S-02-24 | REMOVE & REPLACE INVERTS IN EXISTING MANHOLE | EA
S-02-25 | CORE & CONNECT TO EXISTING MANHOLE 4" - 12" | EA
S-03-1 | REMOVE EXISTING 22” RING & COVER & REPLACE WITH 24” HINGED RING & COVER | EA
S-03-2 | REMOVE EXISTING 32” RING & COVER & REPLACE WITH 32” HINGED RING & COVER | EA
S-03-3 | REMOVE EXISTING 22” RING & COVER & REPLACE WITH 24” HINGED RING & COVER, LABOR ONLY | EA
S-03-4 | REMOVE EXISTING 32” RING & COVER & REPLACE WITH 32” HINGED RING & COVER, LABOR ONLY | EA
S-05 | ADJUST EXISTING MANHOLE RING & COVER TO GRADE | EA
S-06-1 | 6” SEWER SERVICE DROP CONNECTION, 0’ – 6’ | EA
S-06-2 | 6” SEWER SERVICE DROP CONNECTION, 6’ – 12’ | EA
S-06-3 | 6” SEWER SERVICE DROP CONNECTION, 12’ – 18’ | EA
S-06-4 | 6” SEWER SERVICE DROP CONNECTION, 18’ – 24’ | EA
S-06-5 | 8” SEWER MANHOLE DROP CONNECTION, 0’ – 6’ | EA
S-06-6 | 8” SEWER MANHOLE DROP CONNECTION, 6’ – 12’ | EA
S-06-7 | 8” SEWER MANHOLE DROP CONNECTION, 12’ – 18’ | EA
S-06-8 | 8” SEWER MANHOLE DROP CONNECTION, 18’ – 24’ | EA
S-06-9 | 10” SEWER MANHOLE DROP CONNECTION, 0’ – 6’ | EA
S-06-10 | 10” SEWER MANHOLE DROP CONNECTION, 6’ – 12’ | EA
S-06-11 | 10” SEWER MANHOLE DROP CONNECTION, 12’ – 18’ | EA
S-06-12 | 10” SEWER MANHOLE DROP CONNECTION, 18’ – 24’ | EA
S-06-13 | 12” SEWER MANHOLE DROP CONNECTION, 0’ – 6’ | EA
S-06-14 | 12” SEWER MANHOLE DROP CONNECTION, 6’ – 12’ | EA
S-06-15 | 12” SEWER MANHOLE DROP CONNECTION, 12’ – 18’ | EA
S-06-16 | 12” SEWER MANHOLE DROP CONNECTION, 18’ – 24’ | EA
S-07 | RESURFACE/LINE EXISTING MANHOLES | VFT
S-09-1 | 6” 2-WAY CLEANOUT, 0’ – 6’ | EA
S-09-2 | 6” 2-WAY CLEANOUT, 6’ – 12’ | EA
S-09-3 | 6” 2-WAY CLEANOUT, 12’ – 18’ | EA
S-09-4 | 8” 2-WAY CLEANOUT, 0’ – 6’ | EA
S-09-5 | 8” 2-WAY CLEANOUT, 6’ – 12’ | EA
S-09-6 | 8” 2-WAY CLEANOUT, 12’ – 18’ | EA
S-10-1 | 8” X 6” PVC WYE & BEND | EA
S-10-2 | 10” X 6” PVC WYE & BEND | EA
S-10-3 | 12” X 6” PVC WYE & BEND | EA
S-11 | 6" PVC SEWER SERVICE | LF
S-12 | TELEVISION INSPECTION – SEWER MAIN EXPORATION (OTHER PURPOSES THAN ITEMS B1 - F16) | LF
S-15-1 | SEWER MAIN POINT REPAIRS 6” MAIN 0’ – 6’ | LF
S-15-2 | SEWER MAIN POINT REPAIRS 6” MAIN 6’ – 12’ | LF
S-15-3 | SEWER MAIN POINT REPAIRS 6” MAIN 12’ – 18’ | LF
S-15-4 | SEWER MAIN POINT REPAIRS 8” MAIN 0’ – 6’ | LF
S-15-5 | SEWER MAIN POINT REPAIRS 8” MAIN 6’ – 12’ | LF
S-15-6 | SEWER MAIN POINT REPAIRS 8” MAIN 12’ – 18’ | LF
S-15-7 | SEWER MAIN POINT REPAIRS 8” MAIN 18’ – 24’ | LF
S-15-8 | SEWER MAIN POINT REPAIRS 10” MAIN 0’ – 6’ | LF
S-15-9 | SEWER MAIN POINT REPAIRS 10” MAIN 6’ – 12’ | LF
S-15-10 | SEWER MAIN POINT REPAIRS 10” MAIN 12’ – 18’ | LF
S-15-11 | SEWER MAIN POINT REPAIRS 10” MAIN 18’ – 24’ | LF
S-15-12 | SEWER MAIN POINT REPAIRS 12” MAIN 0’ – 6’ | LF
S-15-13 | SEWER MAIN POINT REPAIRS 12” MAIN 6’ – 12’ | LF
S-15-14 | SEWER MAIN POINT REPAIRS 12” MAIN 12’ – 18’ | LF
S-15-15 | SEWER MAIN POINT REPAIRS 12” MAIN 18’ – 24’ | LF
S-16-1 | BYPASS PUMPING, 0 – 1000 GPM | DAY
S-17-1 | BORE & JACK 18” STEEL CASING W/ 6” PVC | LF
S-17-2 | BORE & JACK 18” STEEL CASING W/ 8” PVC | LF
S-17-3 | BORE & JACK 24” STEEL CASING W/ 8” PVC | LF
S-17-4 | BORE & JACK 24” STEEL CASING W/ 10” PVC | LF
S-17-5 | BORE & JACK 24” STEEL CASING W/ 12” PVC | LF
S-17-6 | BORE & JACK 30” STEEL CASING W/ 12” PVC | LF
S-18-1 | DIRECTIONAL BORE 2” HDPE PIPE | LF
S-18-2 | DIRECTIONAL BORE 4” HDPE PIPE | LF
S-18-3 | DIRECTIONAL BORE 6” HDPE PIPE | LF
S-18-4 | DIRECTIONAL BORE 8” HDPE PIPE | LF
S-18-5 | DIRECTIONAL BORE 10” HDPE PIPE | LF
S-18-6 | DIRECTIONAL BORE 12” HDPE PIPE | LF
S-18-7 | DIRECTIONAL BORE 14” HDPE PIPE | LF
S-18-8 | DIRECTIONAL BORE 16” HDPE PIPE | LF
S-18-9 | DIRECTIONAL BORE 18” HDPE PIPE | LF
S-19-1 | ABANDON SANITARY SEWER OR FORCE MAIN CUT AND CAP | LS
S-19-2 | ABANDON AND REMOVE SANITARY OR FORCE MAINS | LF
S-19-3 | ABANDON AND REMOVE SANITARY SEWER MANHOLE | EA
S-19-4 | SANITARY SEWER AND FORCE MAIN GROUTING | CY
S-20 | LIFT STATION INSTALLATION - 6" DIAMETER WET WELL (6'-12' DEPTH LABOR ONLY) | LS
S-21-1 | 4” HDPE FORCE MAIN RISER PIPE REPLACEMENT AT LIFT STATION | LF
S-21-2 | 6” HDPE FORCE MAIN RISER PIPE REPLACEMENT AT LIFT STATION | LF
S-21-3 | 8” HDPE FORCE MAIN RISER PIPE REPLACEMENT AT LIFT STATION | LF
S-21-4 | 10” HDPE FORCE MAIN RISER PIPE REPLACEMENT AT LIFT STATION | LF
S-21-5 | 12” HDPE FORCE MAIN RISER PIPE REPLACEMENT AT LIFT STATION | LF
S-22-1 | 2” PVC FORCE MAIN | LF
S-22-2 | 4” PVC FORCE MAIN | LF
S-22-3 | 6” PVC FORCE MAIN | LF
S-22-4 | 8” PVC FORCE MAIN | LF
S-22-5 | 10" PVC FORCE MAIN | LF
S-22-6 | 12” PVC FORCE MAIN | LF
S-22-7 | 16” PVC FORCE MAIN | LF
S-22-8 | 18” PVC FORCE MAIN | LF
S-22-9 | 24” PVC FORCE MAIN | LF
S-22-10 | 4" DIP FORCE MAIN | LF
S-22-11 | 6" DIP FORCE MAIN | LF
S-22-12 | 8" DIP FORCE MAIN | LF
S-22-13 | 12" DIP FORCE MAIN | LF
S-22-14 | 16" DIP FORCE MAIN | LF
S-22-15 | 18" DIP FORCE MAIN | LF
S-22-16 | 24" DIP FORCE MAIN | LF
S-22-17 | 30" DIP FORCE MAIN | LF
S-23-1 | 2” PVC SCH 80 FITTINGS | EA
S-23-2 | DIP MJ FITTINGS, 4" | EA
S-23-3 | DIP MJ FITTINGS, 6" | EA
S-23-4 | DIP MJ FITTINGS, 8" | EA
S-23-5 | DIP MJ FITTINGS, 10" | EA
S-23-6 | DIP MJ FITTINGS, 12" | EA
S-23-7 | DIP MJ FITTINGS, 16" | EA
S-23-8 | DIP MJ FITTINGS, 18" | EA
S-23-9 | DIP MJ FITTINGS, 24" | EA
S-23-10 | DIP MJ FITTINGS, 30" | EA
S-25-1 | 4” PLUG VALVE & VALVE BOX | EA
S-25-2 | 6” PLUG VALVE & VALVE BOX | EA
S-25-3 | 8” PLUG VALVE & VALVE BOX | EA
S-25-4 | 10” PLUG VALVE & VALVE BOX | EA
S-25-5 | 12” PLUG VALVE & VALVE BOX | EA
S-25-6 | 16” PLUG VALVE & VALVE BOX | EA
S-25-7 | 18” PLUG VALVE & VALVE BOX | EA
S-25-8 | 24” PLUG VALVE & VALVE BOX | EA
S-25-9 | 4" FLANGED PLUG VALVE | EA
S-25-10 | 6" FLANGED PLUG VALVE | EA
S-25-11 | 8" FLANGED PLUG VALVE | EA
S-25-12 | 10" FLANGED PLUG VALVE | EA
S-25-13 | 12" FLANGED PLUG VALVE | EA
S-25-14 | 4" FLANGED CHECK VALVE | EA
S-25-15 | 6" FLANGED CHECK VALVE | EA
S-25-16 | 8" FLANGED CHECK VALVE | EA
S-25-17 | 10" FLANGED CHECK VALVE | EA
S-25-18 | 12" FLANGED CHECK VALVE | EA
S-27-1 | AIR RELEASE VALVE ASSEMBLY – INSIDE VAULT BELOW GROUND | EA
S-27-2 | AIR RELEASE VALVE ASSEMBLY – ABOVE GROUND | EA
S-28 | SEWAGE TANKER PUMPING | HR
Sub-Total SANITARY SEWER CONSTRUCTION (012200-42): |  |  | 0
RECLAIMED WATER CONSTRUCTION (012200-52)
012200-1.5-G-31-0 | RECLAIMED WATER SYSTEM ASBUILT | HR
R-01-1 | 2” PVC RECLAIMED WATER MAIN | LF
R-01-2 | 4” PVC RECLAIMED WATER MAIN | LF
R-01-3 | 6” PVC RECLAIMED WATER MAIN | LF
R-01-4 | 8” PVC RECLAIMED WATER MAIN | LF
R-01-5 | 12” PVC RECLAIMED WATER MAIN | LF
R-01-6 | 16” PVC RECLAIMED WATER MAIN | LF
R-01-7 | 18" PVC RECLAIMED WATER MAIN | LF
R-01-8 | 4” DIP RECLAIMED WATER MAIN | LF
R-01-9 | 6” DIP RECLAIMED WATER MAIN | LF
R-01-10 | 8” DIP RECLAIMED WATER MAIN | LF
R-01-11 | 12” DIP RECLAIMED WATER MAIN | LF
R-01-12 | 16” DIP RECLAIMED WATER MAIN | LF
R-01-13 | 18" DIP RECLAIMED WATER MAIN | LF
R-03-1 | 2” PVC SCH 80 FITTINGS | EA
R-03-2 | DIP MJ FITTINGS, 4" | EA
R-03-3 | DIP MJ FITTINGS, 6" | EA
R-03-4 | DIP MJ FITTINGS, 8" | EA
R-03-5 | DIP MJ FITTINGS, 10" | EA
R-03-6 | DIP MJ FITTINGS, 12" | EA
R-03-7 | DIP MJ FITTINGS, 14" | EA
R-03-8 | DIP MJ FITTINGS, 16" | EA
R-03-9 | DIP MJ FITTINGS, 18" | EA
R-03-10 | DIP MJ CROSS 4" | EA
R-03-11 | DIP MJ CROSS 6" | EA
R-03-12 | DIP MJ CROSS 8" | EA
R-03-13 | DIP MJ CROSS 10" | EA
R-03-14 | DIP MJ CROSS 12" | EA
R-03-15 | DIP MJ CROSS 14" | EA
R-03-16 | DIP MJ CROSS 16" | EA
R-03-17 | DIP MJ CROSS 18" | EA
R-05-1 | 2” GATE VALVE WITH SST STEM & VALVE BOX | EA
R-05-2 | 4” GATE VALVE WITH SST STEM & VALVE BOX | EA
R-05-3 | 6” GATE VALVE WITH SST STEM & VALVE BOX | EA
R-05-4 | 8” GATE VALVE WITH SST STEM & VALVE BOX | EA
R-05-5 | 10” GATE VALVE WITH SST STEM & VALVE BOX | EA
R-05-6 | 12” BUTTERFLY VALVE WITH SST STEM & VALVE BOX | EA
R-05-7 | 16” BUTTERFLY VALVE WITH SST STEM & VALVE BOX | EA
R-05-8 | 18” BUTTERFLY VALVE WITH SST STEM & VALVE BOX | EA
R-05-9 | 24” BUTTERFLY VALVE WITH SST STEM & VALVE BOX | EA
R-14-1 | 1” SINGLE RECLAIMED WATER SERVICE – SHORT | EA
R-14-2 | 1” SINGLE RECLAIMED WATER SERVICE – LONG | EA
R-14-3 | 1" DOUBLE RECLAIMED WATER SERVICE - SHORT | EA
R-14-4 | 1" DOUBLE RECLAIMED WATER SERVICE - LONG | EA
R-14-5 | 2” SINGLE RECLAIMED WATER SERVICE – SHORT | EA
R-14-6 | 2” SINGLE RECLAIMED WATER SERVICE – LONG | EA
R-14-7 | 2" DOUBLE RECLAIMED WATER SERVICE - SHORT | EA
R-14-8 | 2" DOUBLE RECLAIMED WATER SERVICE - LONG | EA
R-16-1 | 2” TAP ON EXISTING 8” RECLAMED WATER MAIN W/ VALVE & SST STEM | EA
R-16-2 | 2” TAP ON EXISTING 12” RECLAMED WATER MAIN W/ VALVE & SST STEM | EA
R-16-3 | 8” TAP ON EXISTING 8” RECLAMED WATER MAIN W/ VALVE & SST STEM | EA
R-16-4 | 8” TAP ON EXISTING 12” RECLAMED WATER MAIN W/ VALVE & SST STEM | EA
R-16-5 | 12” TAP ON EXISTING 12” RECLAMED WATER MAIN W/ VALVE & SST STEM | EA
R-16-6 | 16” TAP ON EXISTING 16” RECLAMED WATER MAIN W/ VALVE & SST STEM | EA
R-18-1 | DIRECTIONAL BORE 2” PVC | LF
R-18-2 | DIRECTIONAL BORE 4" PVC | LF
R-18-3 | DIRECTIONAL BORE 6” PVC | LF
R-18-4 | DIRECTIONAL BORE 8” PVC | LF
R-18-5 | DIRECTIONAL BORE 10” PVC | LF
R-18-6 | DIRECTIONAL BORE 12” PVC | LF
R-18-7 | DIRECTIONAL BORE 16” PVC | LF
R-18-8 | DIRECTIONAL BORE 2” HDPE | LF
R-18-9 | DIRECTIONAL BORE 4" HDPE | LF
R-18-10 | DIRECTIONAL BORE 6” HDPE | LF
R-18-11 | DIRECTIONAL BORE 8” HDPE | LF
R-18-12 | DIRECTIONAL BORE 10” HDPE | LF
R-18-13 | DIRECTIONAL BORE 12” HDPE | LF
R-18-14 | DIRECTIONAL BORE 16” HDPE | LF
R-22-1 | ABANDON RECLAIMED WATER MAIN CUT AND CAP | LS
R-22-2 | ABANDON AND REMOVE RECLAIMED WATER MAIN | LF
R-22-3 | RECLAIMED WATER MAIN GROUTING | CY
Sub-Total RECLAIMED WATER CONSTRUCTION (012200-52): |  |  | 0
*ALL BELOW LINE ITEMS ARE FOR CHEMICAL GROUTING & LINING WORK ONLY. INLUDES BASIC MOT ITEMS AROUND VEHICLES (CONSTRUCTION/MEN WORKING SIGNS & CONES)
*ALL BELOW LINE ITEMS ARE FOR CHEMICAL GROUTING & LINING WORK ONLY. INLUDES BASIC MOT ITEMS AROUND VEHICLES (CONSTRUCTION/MEN WORKING SIGNS & CONES)
CHEMICAL GROUTING (EXHIBIT C)
B1 | TEST AND SEAL JOINTS, 8-INCH AND 10-INCH GRAVITY PIPE | EA
B2 | TEST AND SEAL JOINTS, 12-INCH AND 15-INCH GRAVITY PIPE | EA
B3 | TEST AND SEAL JOINTS, 18-INCH AND 21-INCH GRAVITY PIPE | EA
B4 | WORK IN REAR-YARD EASEMENT - (ITEMS B1 THROUGH F16) | EA
B5 | CHEMICAL GROUT FOR SEALING SEWER JOINTS | GAL
B6 | CHEMICAL ROOT REMOVAL (8-INCH THROUGH 12-INCH) | LF
B7 | CHEMICAL ROOT REMOVAL (15-INCH THROUGH 21-INCH) | LF
B8 | GROUT/SEAL LATERAL CONNECTION 8 & 10 MAIN, 4 & 6-INCH LATERALS (3' MINIMUM) | EA
B9 | GROUT/SEAL LATERAL CONNECTION 12 & 15 MAIN, 4 & 6-INCH LATERALS (3' MINIMUM) | EA
B10 | GROUT/SEAL LATERAL CONNECTION 18 & 24 MAIN, 4 & 6-INCH LATERALS (3' MINIMUM) | EA
Sub-Total CHEMICAL GROUTING: |  |  | 0
SECTIONAL AND LATERAL LINERS
D1 | INSTALL CURED-IN-PLACE SECTIONAL PIPE LINERS, 6-INCH TO 12-INCH DIAMETER | EA
D2 | INSTALL CURED-IN-PLACE SECTIONAL PIPE LINERS, 6-INCH TO 12-INCH DIAMETER ( PER LINEAR FOOT BEYOND 6 FEET IN LENGTH, ALL DEPTHS) | LF
D3 | INSTALL CURED-IN-PLACE SECTIONAL PIPE LINERS, 15-INCH TO 18-INCH DIAMETER (UP TO 6 FEET IN LENGTH, ALL DEPTHS) | EA
D4 | INSTALL CURED-IN-PLACE SECTIONAL PIPE LINERS, 15-INCH TO 18-INCH DIAMETER (PER LINEAR FOOT BEYOND 6 FEET IN LENGTH, ALL DEPTHS) | LF
D5 | INSTALL CURED-IN-PLACE SECTIONAL PIPE LINERS, 21-INCH DIAMETER (UP TO 6 FEET IN LENGTH, ALL DEPTHS) | EA
D6 | INSTALL CURED-IN-PLACE SECTIONAL PIPE LINERS, 21-INCH DIAMETER (PER LINEAR FOOT BEYONE 6 FEET IN LENGTH, ALL DEPTHS) | LF
D7 | REINSTATE LATERALS AND GROUT ANNULAR SPACE | EA
D8 | FCLRL - CURED-IN-PLACE LATERAL LINER 6-INCH TO 10-INCH MAIN, 4 & 6-INCH LATERAL PIPE, UP TO 15 LINEAR FEET (ALL DEPTHS) | EA
D9 | FCLRL - CURED-IN-PLACE LATERAL LINER 12-INCH TO 15-INCH MAIN, 4 & 6-INCH LATERAL PIPE, UP TO 15 LINEAR FEET (ALL DEPTHS) | EA
D10 | FCLRL - CURED-IN-PLACE LATERAL LINER 18-INCH TO 21-INCH MAIN, 4 & 6-INCH LATERAL PIPE, UP TO 15 LINEAR FEET (ALL DEPTHS) | EA
D11 | FCLRL - CURED-IN-PLACE LATERAL LINER 24-INCH MAIN, 4 & 6-INCH LATERAL PIPE, UP TO 15 LINEAR FEET (ALL DEPTHS) | EA
D13 | FCLRL - CURED-IN-PLACE MH DROP LINER 8-INCH TO 15-INCH MAIN, 8-INCH TO 10-INCH MANHOLE DROP CONNECTION, UP TO 12 LINEAR FEET OF DROP (ALL DEPTHS) | EA
D14 | LATERAL LINER 4 & 6-INCH PIPE, GREATER THAN 15 LINEAR FEET (ALL DEPTHS) | LF
D15 | INSTALL CIP LINER IN 4-INCH TO 6-INCH LATERALS, ALL DEPTHS (INCLUDES 15 FEET OF LATERAL) | EA
D16 | INSTALL CIP LINER IN 4-INCH TO 6-INCH LATERALS, ALL DEPTHS (PER LINEAR FOOT BEYOND 15 FEET OF LATERAL PIPE) | LF
D17 | INSTALL FULL-CIRCLE CIP MAINLINE/LATERAL CONNECTION INTERFACE SEAL (MINIMUM 3) IN 6- 10- INCH MAIN WITH 4-INCH TO 6-INCH LATERALS, ALL DEPTHS | EA
D18 | INSTALL FULL-CIRCLE CIP MAINLINE/LATERAL CONNECTION INTERFACE SEAL (MINIMUM 3) IN 12- 21- INCH MAIN WITH 4-INCH TO 6-INCH LATERALS, ALL DEPTHS | EA
D19 | INSTALL FULL-CIRCLE CIP MAINLINE/LATERAL CONNECTION INTERFACE SEAL IN 6- TO 10- INCH MAIN WITH 4-INCH TO 6-INCH LATERAL PIPE, UP TO 6 INCHES OF LATERAL PIPING, ALL DEPTHS | EA
D20 | INSTALL FULL-CIRCLE CIP MAINLINE/LATERAL CONNECTION INTERFACE SEAL 12-INCH TO 21-INCH MAIN, 4-INCH & 6-INCH LATERAL PIPE, UP TO 6 INCHES OF LATERAL PIPING, ALL DEPTHS | EA
D21 | TRANSITIONAL LINER 6-INCH TO 4-INCH | EA
D22 | COATING REMOVAL/SURFACE PREPARATION (ITEMS D17 - D20) | EA
D23 | SEWER LATERAL TV INSPECTION FROM MAIN WITH PAN & TILT CAMERA (UP TO 30 FEET) | EA
D24 | SEWER LATERAL TV INSPECTION FROM MAIN with PAN & TILT CAMERA (BEYOND 30 FEET) | LF
D25 | SEWER LATERAL TV INSPECTION FROM CLEANOUT (UP TO 30 FEET) | EA
D26 | SEWER LATERAL TV INSPECTION FROM CLEANOUT (BEYOND 30 FEET) | LF
D27 | LATERAL PIPE GROUTING TO FACILITATE PROPER LATERAL LINER INSTALLATION | EA
D28 | LATERAL PIPE TESTING (10% OF INSTALLATIONS) | EA
Sub-Total SECTIONAL AND LATERAL LINERS: |  |  | 0
CIP MAINLINE PIPE LINING
E1 | INSTALL CURED-IN-PLACE LINER, 18-INCH DIAMETER GRAVITY MAINS (6 TO 12 FEET IN DEPTH) | LF
E2 | INSTALL CURED-IN-PLACE LINER, 18-INCH DIAMETER GRAVITY MAINS (12 TO 16 FEET IN DEPTH) | LF
E3 | INSTALL CURED-IN-PLACE LINER, 21-INCH DIAMETER GRAVITY MAINS (6 TO 12 FEET IN DEPTH) | LF
E4 | INSTALL CURED-IN-PLACE LINER, 21-INCH DIAMETER GRAVITY MAINS (12 TO 16 FEET IN DEPTH) | LF
E5 | INSTALL CURED-IN-PLACE LINER, 24-INCH DIAMETER GRAVITY MAINS (6 TO 12 FEET IN DEPTH) | LF
E6 | INSTALL CURED-IN-PLACE LINER, 24-INCH DIAMETER GRAVITY MAINS (12 TO 18 FEET IN DEPTH) | LF
E7 | INSTALL CURED-IN-PLACE LINER, 30-INCH DIAMETER GRAVITY MAINS (6 TO 12 FEET IN DEPTH) | LF
E8 | INSTALL CURED-IN-PLACE LINER, 30-INCH DIAMETER GRAVITY MAINS (12 TO 18 FEET IN DEPTH) | LF
Sub-Total CIP MAINLINE PIPE LINING: |  |  | 0
FORM AND FORM PIPE LINING
F1 | INSTALL FOLD AND FORM LINER, 8-INCH DIAMETER GRAVITY MAINS (ALL DEPTHS) | LF
F2 | INSTALL FOLD AND FORM LINER, 10-INCH DIAMETER GRAVITY MAINS (ALL DEPTHS) | LF
F3 | INSTALL FOLD AND FORM LINER, 12-INCH DIAMETER GRAVITY MAINS (ALL DEPTHS) | LF
F4 | INSTALL FOLD AND FORM LINER, 15-INCH DIAMETER GRAVITY MAINS (ALL DEPTHS) | LF
F5 | SEWER MAIN CLEANING AND TV INSPECTION (8-INCH THROUGH 12-INCH) | LF
F6 | SEWER MAIN CLEANING AND TV INSPECTION (15-INCH THROUGH 21-INCH) | LF
F7 | SEWER MAIN CLEANING AND TV INSPECTION (21-INCH THROUGH 24-INCH) | LF
F8 | REINSTATE LATERALS AND GROUT ANNULAR SPACE | EA
F9 | MECHANICAL ROOT OR GREASE REMOVAL (12-INCH AND SMALLER) | LF
F10 | MECHANICAL ROOT OR GREASE REMOVAL (15-INCH THROUGH 24-INCH) | LF
F11 | MECHANICAL TUBERCULATION REMOVAL (12-INCH OR SMALLER) | LF
F12 | MECHANICAL TUBERCULATION REMOVAL (15-INCH THROUGH 24-INCH) | LF
F13 | PROTRUDING SERVICE CONNECTION REMOVED BY INTERNAL MEANS | EA
F14 | BYPASS PUMPING (6-INCH AND 10-INCH SEWER) | DAY
F15 | BYPASS PUMPING (12-INCH AND 15-INCH SEWER) | DAY
F16 | BYPASS PUMPING (18-INCH AND 30-INCH SEWER) | DAY
Sub-Total FORM AND FORM PIPE LINING: |  |  | 0
*TOTAL BID AMOUNT |  |  | 0
* Enter TOTAL BID AMOUNT into Total Bid Amount Section on your electronic bid response.